## Hvac Parts
Description | Part # | Price | Other Description | Supplier
Goodman 3 Ton 14 SEER Heat Pump Condensing Unit, R410A Refrigerant | SSZ140361A | 1512 | Condensing Unit | acwholesalers.com
Goodman 3 Ton, W 17 1/2 x D 21 x H 22, Cased Evaporator Coil | CAPF3636B6 | 247 | Coil | acwholesalers.com
UV Resistant Plastic Outdoor Condensing Unit Pad For All Goodman units | EL3636 | 38 | Condenser Pad | acwholesalers.com
2.5 To 3 Ton TXV Kit - For R410a Refrigerant Equipment | TX3N4 | 77 | TXV Kit | acwholesalers.com
Air Conditioner Non-Fusible Pull-Out Electrical Disconnect | DDS-30U | 19 | outdoor electrical box | acwholesalers.com
8077 - 3/4 x 72 Inches, # 8 Gauge Air Conditioning Electrical Whip | 8077 | 19 | outdoor wiring harness | acwholesalers.com
3/8" LL x 7/8" SL x 35 ft. Refrigerant Line Set | LS387835 | 134.95 | Line Set | pexsupply.com
7/8" CxC 90 Degree Elbow For HVAC | WP7-12A | 0.87 | Copper fitting | pexsupply.com
3/8" CxC 90 Degree Elbow For HVAC | WP7-04A | 1.22 | Copper fitting | pexsupply.com
Outdoor Temperature Sensor | C7089U1006 | 18.45 | Temp Sensor | pexsupply.com
VisionPro 8000 Thermostat (3 Heat - 2 Cool) | TH8320U1008 | 122.95 | Thermostat | pexsupply.com
TOTAL
2190.44

## Other Info
buyunit.com
Condenser | GSZ130361A | 1281
Coil | CAPF3636B6 | 272.21 | 11192
ship |  | 130
1683.21
Electrical whip | AG-WHP10 | 19
pad | AG-PAD30 | 40.99
Line-set | 61480351 | 169.99
indoor thermometer vpro 8000 | TH8320U1008 | 181 |  | http://www.ventingdirect.com/accessdriver.cfm?page=cart:cart
outdoor thermometer | OT18-60 | 37
Disconnect | AG-DCT | 24
471.98
vision pro thermostat | C7089U1006 | 18.45 | pexsupply
2155.19
http://www.acwholesalers.com/Goodman-Air-Conditioner-Heat-Pumps-s/64.htm
SSZ140361A - Goodman 3 Ton 14 SEER Heat Pump Condensing Unit, R410A Refrigerant List Price: $2,116.80 Our Price: $1,512.00
GSZ130361A - Goodman 3 Ton 13 SEER R410A Heat Pump Condensing Unit List Price: $1,793.40 Our Price: $1,281.00
CAPF3636B6 - Goodman 3 Ton, W 17 1/2 x D 21 x H 26, Cased Evaporator Coil List Price: $345.80 Our Price: $247.00
50 foot 3/8 LL 7/8 SL Refrigerant Lineset List Price: $233.80 Our Price: $152.00
EL3636 - UV Resistant Plastic Outdoor Condensing Unit Pad For All Goodman units
Generic LS387850 - 3/8" LL x 7/8" SL x 50 ft. Refrigerant Line Set LS387850 |  |  | pex supply
TX3N4 - 2.5 To 3 Ton TXV Kit - For R410a Refrigerant Equipment |  | 77